## Ark1
Equipment: | Biomek I7
S/N: | B8758720L002
| Date | Number of runs | Status | Comments
Date of manufacture | 09.11.2020
Taken into use | 07.12.2020 | 3111
PM 1 | 02.02.2022 |  | Passed
PM 2 | 03.01.2023 |  | Passed
Pipetteting head 1 | 30.07.2021 | 895 |  | P300 is installed
Pipetteting head 2 | 09.12.2021 | 1302 |  | P1200 is installed
The following is included:
- Computer screen
- Computer
- Computer mouse
- Keyboard
- 4 Port Wall and DIN Rail Mountable Industrial USB to RS232 Serial Hub from StarTech.com
- 1 Handheld barcode scanner
- Beckman Coulter Accuframe
- Framing probe
- Screwdriver
- Smart-UPS from Fujitsu
- Flyby scanner
- Extra screws and tools to tighten the gripper
- Folder with servicereport, PM report, single service checkout, QA Worksheet of Assembled Items and artel MVS test report
- Windows 10 Controller PC Recovery Media, Dart 2.3 installation Disk, USB, Biomek Software 5 Install disk,
- 6 hex keys
- 5 Magnet plate by Alpaqua