## Ark1
Equipment: | Biomek I7
S/N: | B8758720M004
| Date | Number of runs | Status | Comments
Date of manufacture | 05.12.2020
Taken into use | 06.01.2021 | 2222
PM 1 | 09.02.2022 |  | Passed | POD make a lot of noise, but can still be used. Must be replaced later.
PM 2 | 20.02.2023 |  | Passed
Pipetteting head 1 | 18.01.2021 | 1840 |  | P300 pipettinghead is mounted on the robot
Pipetteting head 2 | 25.01.2022 | 326 |  | P1200 pipettinghead is mounted on the robot
Pipetteting head 3 | 19.04.2022 | 107 |  | P1200 pipettinghead is mounted on the robot
POD | 05.04.2022 | 128
The following is included:
- Computer screen
- Computer
- Computer mouse
- Keyboard
- 4 Port Wall and DIN Rail Mountable Industrial USB to RS232 Serial Hub from StarTech.com
- 1 Handheld barcode scanner
- Beckman Coulter Accuframe
- Framing probe
- Screwdriver
- Smart-UPS from Fujitsu
- Flyby scanner
- Extra screws and tools to tighten the gripper
- Folder with servicereport, PM report, single service checkout, QA Worksheet of Assembled Items and artel MVS test report
- Windows 10 Controller PC Recovery Media, Dart 2.3 installation Disk, USB, Biomek Software 5 Install disk,
- 6 hex keys
- 5 Magnet plate by Alpaqua